# Holiday Decoration Checklist

|  |  |  |  |
| --- | --- | --- | --- |
| **Requirements** | **Yes** | **No** | **N/A** |
| All decorations are noncombustible or flame-retardant |  |  |  |
| Cut trees and vegetation (which could dry out and become a burning risk) are not used as decorations |  |  |  |
| Electrical or battery-operated candles are used in lieu of open flame candles |  |  |  |
| Electrical or battery-operated light strings and displays have a label from a recognized testing laboratory (e.g., Underwriters Laboratories) |  |  |  |
| Electrical and battery-operated light strings and displays are prohibited from patient treatment and sleeping areas |  |  |  |
| Decorations cover less than 10% of a door |  |  |  |
| Decorations do not obstruct egress routes |  |  |  |
| Decorations do not block access to fire protection equipment or devices |  |  |  |
| Decorations do not obstruct exit signs |  |  |  |
| Decorations are not hung from sprinkler pipes or sprinkler heads |  |  |  |
| Decorations do not block necessary views through windows and vision panels |  |  |  |
| Decorations are not placed near electrical equipment and heat sources |  |  |  |
| Electrical cords and light strings do not create a trip hazard |  |  |  |
| Extension cords are not used for electrical decorations |  |  |  |
| Decorations are removed within the designated timeframe for decoration display |  |  |  |

**Notes:**

**Recommendations:**